B.7	Benchmark water use

Benchmarking a property’s water consumption will allow you to identify problems and track improvements. IREM® highly recommends that you use ENERGY STAR® Portfolio Manager®, the free, online benchmarking tool.

Learn how to share a property in ENERGY STAR Portfolio Manager at this link. When adding IREM as a contact, search for IREMCSP (no spaces) in the username field in the Portfolio Manager search.

To meet this baseline requirement

**** Important notes ****

The most recent year-ending date must be no more than three months prior to the date you submit your CSP application.

You have five options to satisfy this requirement. Follow the process shown in the flowchart on the last page to determine which option you’ll need to use.

Option 1: Whole-building data

Use whole-building water consumption data from the utility.

Option 2: Tenant data

Obtain water consumption data from the largest tenant by usable square feet willing to collaborate.

Option 3: Tenant memo

Obtain a memo from the largest tenant by usable square feet willing to collaborate in which the tenant certifies that they benchmark their water consumption.

Option 4: Management-controlled meters

Benchmark water consumption for any management controlled-meters. Depending on the property and/or lease(s), this may be limited to landscaping and exterior cleaning uses.

Option 5: Management memo

Explain why Options 1-4 were unsuccessful in a memo and provide the memo as documentation for this baseline requirement.

To claim this baseline requirement

- Answer the questions that follow.

- Share the property in ENERGY STAR Portfolio Manager.

- How were you able to satisfy this baseline requirement?

| Option 1: Whole-building data |  |
| --- | --- |
| Option 2: Tenant data |  |
| Option 3: Tenant memo |  |
| Option 4: Management-controlled meters |  |
| Option 5: Management memo |  |

- Enter water consumption information for the areas you’re able to benchmark.

Check the applicable line if you obtained a tenant memo that certifies that they are tracking water consumption or exhausted all benchmarking steps and must provide a management memo.

| Year-ending date |  |
| --- | --- |
| ENERGY STAR score |  |
| Site EUI |  |
| Tenant memo |  |
| Management memo |  |

- Submit one of the following as benchmarking evidence.

- Share the property with IREM in ENERGY STAR Portfolio Manager.

- Remember: The most recent year-ending date must be no more than three months prior to the date you submit your CSP application.

- This information does not need to be certified by a Professional Engineer.

- Summary information from any other tool you use besides ENERGY STAR Portfolio Manager

- Tenant memo

- Management memo

Alternative documentation
Instead of this form, you may submit the following to IREM:

- Property share in ENERGY STAR Portfolio Manager

- Tenant or management memo

IREM CSP for Industrial Properties

Benchmarking process