W.3	Install high-efficiency fixtures

After operational changes to increase water efficiency, a property can reduce water use with high-efficiency fixtures. Faucets, toilets, urinals, and showerheads are all available as high-efficiency models under the water use standards in the table on the next page, and some components of landscaping irrigation are available in WaterSense options.

To be eligible for these points

- Select one of two options for eligibility:

Option 1: Interior fixtures

Use management-controlled and/or total tenant kitchen, break room, and restroom fixtures to claim these points.

Option 2: Irrigation

Use management-controlled irrigation fixtures to claim these points.

- At least 75% of applicable water fixtures must be high-efficiency models.

To claim these points

- Complete the table for the option you’ve selected to show the percentage of high-efficiency models.

- Submit the form with your application.

Option 1—Interior fixtures

At least 75% of management-controlled and/or total tenant fixtures in the property must meet any of the standards detailed on the next page. Complete the table below.

| Fixture type | How many fixtures are there total at the property? | How many of that total are high-efficiency models? |
| --- | --- | --- |
| Toilets |  |  |
| Urinals |  |  |
| Public lavatory faucets |  |  |
| Private lavatory faucets |  |  |
| Kitchen faucets |  |  |
| Showerheads |  |  |
| Dishwashers |  |  |
| Washing machines |  |  |
| Totals |  |  |
| Percentage high efficiency (total high efficiency ÷ total overall x 100) |  |  |

Option 2—Irrigation

At least 75% of select irrigation fixtures must be WaterSense certified. Complete the table below.

Note: This option focuses on irrigation controllers and spray sprinkler bodies. Other components of an irrigation system currently aren’t eligible for the WaterSense label. U.S. EPA has gathered public comments on standards for water-efficient sprinkler heads but hasn’t yet established those standards.

| Fixture type | How many fixtures are there total at the property? | How many of that total are WaterSense models? |
| --- | --- | --- |
| Irrigation controller |  |  |
| Spray sprinkler bodies |  |  |
| Totals |  |  |
| Percentage high efficiency (total high-efficiency ÷ total overall x 100) |  |  |

Alternative documentation
Instead of this form, you may submit one of the following to IREM®:

- Work order or invoice for fixtures

- Spec sheets for fixtures

Eligible water efficiency standards for interior fixtures

| Standard | Toilets (gpf) | Urinals (gpf) | Public lavatory faucets (gpm) | Private lavatory faucets (gpm) | Kitchen faucets (gpm) | Showerheads |
| --- | --- | --- | --- | --- | --- | --- |
| High-efficiency | 1.28 | 0.125 | 0.5 | 1.5 | 2.2 | 1.5 |
| EPA WaterSense | 1.28 | 0.5 | 0.5 | 1.5 | N/A | 2.0 |
| UPC/IPC | 1.6 | 1.0 | 0.5 | 2.2 | 2.2 | 2.5 |