## Instructions
Checklist instructions
Checklist purpose Use this checklist for E.6 Review medical and office lighting and equipment to identify energy efficiency opportunities to guide your work with the tenant and/or department representative(s). Tenant or department representative(s) to include in this activity include operations, facilities, and engineering leads and biomedical equipment technicians. Health care operators that manage their own facilities may conduct this assessment internally, using this checklist and qualified personnel. To earn points for E.6 Review medical and office lighting and equipment to identify energy efficiency opportunities (1) Engage the appropriate representative for at least one tenant or department at the property. Health care operators that manage their own facilities may conduct this assessment internally, using this checklist and qualified personnel. (2) It is highly recommended that you in this process the biomedical equipment technician that services all or major piece(s) of medical equipment. You will be identifying options for safely reducing energy consumption in this equipment. (3) Use each checklist on separate tabs of this spreadsheet to review the medical office space for energy efficiency opportunities. (4) Return the completed checklists with your CSP application for the property. (5) After certification, continue using the checklists to advance energy efficiency in other spaces in the building, as applicable. Using the checklist Note: The checklist has two tabs that you will use in your work with tenant(s) or departments - (1) Medical Equipment and (2) Office Equipment. Both checklists must be completed and returned in order to earn points. (1) Enter the property name, tenant or department, and suite in the green box in the upper right corner of each worksheet. (2) Work with the tenant or department to complete the Medical Equipment checklist. It is highly recommended that you encourage the tenant representative to include in this process the biomedical equipment technician that services all or major piece(s) of medical equipment. (3) Work with the tenant or department to complete the Office Equipment checklist. Questions? If you have questions about this checklist or the certification process, email sustainability@irem.org or call (800) 837-0706 x6096.

## Medical Equipment
|  |  | Tenant lighting and plug load checklist Medical equipment v2018.1 |  |  |  |  | Property Name, Tenant/Department, Suite
| Item | Location | Manufacturer | Service technician | Power down when not in use? | Adjust power controls for better efficiency? | Other efficiency opportunities for equipment | Notes and next steps
Imaging | MRI device #1 | Ex. Radiology 2 | Siemens | Siemens Field Service | Yes - new schedule set | Settings already in use | Ex. More efficient model on replacement
MRI device #2
MRI device #3
CT scanner #1
CT scanner #2
CT scanner #3
X-ray machine #1
X-ray machine #2
X-ray machine #3
Ultrasound machine #1
Ultrasound machine #2
Ultrasound machine #3
Mammography unit #1
Mammography unit #2
Mammography unit #3
Exam beds and chairs | Exam bed #1
Exam bed #2
Exam bed #3
Exam bed #4
Exam bed #5
Exam bed #6
Exam bed #7
Exam bed #8
Exam bed #9
Exam bed #10
Exam chair #1
Exam chair #2
Exam chair #3
Lights | Exam or surgical light #1
Exam or surgical light #2
Exam or surgical light #3
Exam or surgical light #4
Exam or surgical light #5
Exam or surgical light #6
Exam or surgical light #7
Exam or surgical light #8
Exam or surgical light #9
Exam or surgical light #10
Exam or surgical light #11
Exam or surgical light #12
Exam or surgical light #13
Exam or surgical light #14
Exam or surgical light #15
Phototherapy unit #1
Phototherapy unit #2
Other medical equipment | Electrosurgical unit #1
Electrosurgical unit #2
Electrosurgical unit #3

## Office Equipment
|  | Tenant lighting and plug load checklist Office equipment v2018.1 |  |  | Property Name, Tenant/Department, Suite
| Item | OK | Not OK | Not applicable | Notes and next steps
Thermostats | Temperature set-points optimal for care, comfort, and energy efficiency
Thermostats adjusted seasonally at optimal set-points
Access to thermostats appropriately restricted
Lighting | Lights off in unoccupied areas
LEDs or other high-efficiency lighting in waiting areas and corridors
LEDs or other high-efficiency non-medical lighting in exam, diagnostic, and procedure rooms
LEDs or other high-efficiency lighting in kitchens, break rooms, and lounges
LEDs or other high-efficiency lighting in nurse stations
LEDs or other high-efficiency lighting in laboratories
LEDs or other high-efficiency lighting in pharmacy
LEDs or other high-efficiency lighting in offices and meeting rooms
LEDs or other high-efficiency lighting in storage, mechanical, and server spaces
T-12s converted to T-8s and/or T-5s
Exit sign LEDs installed
Task lighting is energy-efficient
Occupancy sensors installed where possible and functional
Plug loads | Employees educated on plug loads and energy efficiency
ENERGY STAR® computers
Computers use efficient settings and low-power/sleep modes
Computers off after operating hours
ENERGY STAR computer monitors and TVs
Computer monitors and TVs use efficient settings and low-power/sleep modes
Computer monitors and TVs off after operating hours
ENERGY STAR copiers and printers
Copiers and printers use efficient settings and low-power/sleep modes
Copiers and printers off after operating hours
ENERGY STAR fax machines
Fax machines use efficient settings and low-power/sleep modes
Fax machines off after operating hours
No space heaters in employee spaces
ENERGY STAR vending machines
Vending machines use efficient settings and low-power/sleep modes
Vending machines powered down when possible
Other office equipment