B.10	Establish an IAQ management plan

Setting a policy and plan for indoor air quality (IAQ) management will establish a formal commitment to healthy indoor environments. This policy and plan will facilitate goal-setting, assign roles, and lead to action. Use the template below to create your policy and plan, adding and omitting items as necessary. You may also attach your own policy and plan or use a different template.

| IAQ management policy & plan |  |
| --- | --- |
| Part I: Property information |  |
| Basic information |  |
| Property name |  |
| Address |  |
| Age |  |
| Size |  |
| Management company |  |
| Property/site manager |  |

| Part II: IAQ management policy |  |
| --- | --- |
| Effective date |  |
| Approved by |  |
| Example: XYZ Company is committed to healthy indoor environments. These quality environments are a direct result of exceptional real estate management and operations, and communicate to our clients and other stakeholders the quality of the services we provide. Residents enjoy direct benefits from healthy indoor environments, making the property more marketable. As such, we establish this policy to maintain healthy indoor environments in the properties we manage. While the Property Managers lead efforts in conjunction with the Maintenance Team, everyone at the property is responsible for the success of this policy and for carrying out the contents of the IAQ Management Plan. Contractors must also abide by the policy and commit to concrete actions to reduce negative impact on IAQ. |  |

| Part III: Complaint resolution (Note: This is an important component of an IAQ Management Plan. Risk management is a primary duty of real estate managers, and IAQ complaints can expose a property owner to litigation.) |  |  |
| --- | --- | --- |
| Step 1 |  | Example: Record complaint, including resident making complaint, time received, person in receipt, and nature of the issue. |
| Step 2 |  | Example: Alert appropriate staff, including Property Manager and Maintenance Supervisor. |
| Step 3 |  | Example: Respond to resident issuing complaint. Record conversation and/or retain emails for records. |
| Step 4 |  | Example: Investigate issue and remedy any problems. Record results of investigation and actions taken. |
| Step 5 |  | Example: Inform resident of actions taken. Note conversation, follow up in writing, and/or retain emails for records. |

| Part IV: IAQ management strategies |  |  |  |
| --- | --- | --- | --- |
| Preventive maintenance |  |  |  |
| Is preventive maintenance regularly performed? |  |  |  |
| Does preventive maintenance schedule need to be adjusted for IAQ management considerations? |  |  |  |
| Revisions to preventive maintenance plan to enhance IAQ | Date: |  |  |
|  | Revision: |  |  |
|  | Date: |  |  |
|  | Revision: |  |  |
|  | Date: |  |  |
|  | Revision: |  |  |
| Housekeeping |  |  |  |
| Description of services | Service provider: |  |  |
|  | Cleaning area: |  |  |
|  | Cleaning schedule: |  |  |
|  | Cleaning products used: |  |  |
| Green cleaning employed? |  |  |  |
| Carpets | Carpeted areas: |  |  |
|  | Cleaning schedule: |  |  |

| IAQ inspections |  |  |  |  |
| --- | --- | --- | --- | --- |
| Schedule (weekly, bi-weekly, monthly, quarterly, annually, etc.) |  |  |  |  |
| Staff responsible for walk-through inspections |  |  |  |  |
| Problems identified | Date: |  |  |  |
|  | Problem: |  |  |  |
|  | Action taken: |  |  |  |
|  | Date: |  |  |  |
|  | Problem: |  |  |  |
|  | Action taken: |  |  |  |
| Pest management |  |  |  |  |
| Description of services | Service provider: |  |  |  |
|  | Schedule of services: |  |  |  |
|  |  | Description of program: |  |  |  |
| Integrated pest management (IPM) techniques |  |  |  |  |  |
| HVAC |  |  |  |  |  |
| Does preventive maintenance program include inspection, cleaning, and service of items critical to maintain healthy ventilation? |  | Yes |  |  |  |
|  |  | No |  |  |  |
| - outdoor air intake opening |  | Notes: |  |  |  |
| - damper controls |  |  |  |  |  |
| - air filters |  |  |  |  |  |
| - drip pans |  |  |  |  |  |
| - cooling and heating coils |  |  |  |  |  |
| - fan belts |  |  |  |  |  |
| - humidification equipment and controls |  |  |  |  |  |
| - distribution systems |  |  |  |  |  |
| - exhaust fans |  |  |  |  |  |
| HVAC service provider(s) |  | Company name: |  |  |  |
|  |  | Contact: |  |  |  |
|  |  | Company name: |  |  |  |
|  |  | Contact: |  |  |  |

| Are service providers aware that you prioritize IAQ and knowledgeable of HVAC operations that are conducive to healthy indoor environments? (Tip: Schedule a meeting to discuss IAQ with your service providers if necessary.) | Yes No |  |
| --- | --- | --- |
|  | Notes: |  |
| Ventilation standards followed (ex. local or code guidelines, ASHRAE, other) |  |  |
| Describe level of temperature controllability by maintenance team and residents |  |  |
| Moisture control |  |  |
| Moisture control strategies |  | Examples - Indoor relative humidity between 40 and 60 percent maintained - Regular inspections for standing water - Regular inspections for water damage - Water-damaged materials (e.g., ceiling tiles, carpeting) removed within 48 hours - Emergency response plan includes steps to take in the event of flooding |
| Tobacco smoke |  |  |
| Smoke-free property? | Yes No |  |
| Smoking restricted by entrances? | Yes No |  |
| Appropriate signage in place including at entrances? | Yes No |  |
| Pollutant control |  |  |
| Outdoor pollutant control strategies |  | Examples - Properly set and maintain mechanical ventilation systems - Ensure proper ventilation of parking garage - Prohibit delivery vehicles from idling at entrances - Install walk-off mats at entrances |
| Environmental pollutant control strategies |  | Examples - Annual radon testing - Regular IAQ walk-through includes inspection for mold - Property has been inspected for asbestos |
| Microbial control strategies |  | Examples - Regular cleaning - HVAC preventive maintenance - Hand sanitizer station at entrance - Awareness alerts during illness outbreaks |
| VOC control strategies |  | Examples - No-VOC products used in areas under management control - Low- and no-VOC products used in unit turnovers - Off-gassing of furniture and other materials |

| Chemical storage |  |
| --- | --- |
| Is an inventory of chemicals with MSDS maintained? | Yes No |
| Are chemicals confined to a properly vented area? | Yes No |
| Is the area regularly inspected for cleanliness and orderliness? | Yes No |

| Part V: IAQ improvement action plan |  |  |
| --- | --- | --- |
| Action #1 |  | Example: Meet with HVAC service providers by July 31 to discuss IAQ management. |
| Action #2 |  | Example: Use no-VOC paint for leasing office painting scheduled for November. |
| Action #3 |  | Example: Implement construction IAQ management guidelines for renovations and unit turnovers by February 28. |
| Action #4 |  |  |
| Action #5 |  |  |

Alternative documentation
Instead of this form, you may submit the following to IREM®:

- Copy of plan