E.6	Conduct an energy meter inventory

Multifamily properties often have many energy meters in service, tracking energy use in different parts of the property, including each unit. Meters often service more than one area under management control (e.g., parking garage and outdoors). Conducting an inventory of all meters will help you and your team determine what data you can obtain in order to monitor energy consumption in the spaces serviced by those meters. Use this table to conduct your energy meter inventory.

There are separate sections for utility and private meters. Private meters are those installed by a service provider and typically monitor individual pieces of HVAC equipment or specific spaces.

For the utility meter inventory, your maintenance team may have to walk around the outside of the property to identify electrical service drops and track those drops to meters inside the property. They may also have to track wiring from the meters to the spaces they service. Check with your utility account representative to see if they can send someone to assist you in the inventory.

| Utility meters |  |  |  |
| --- | --- | --- | --- |
| Meter | Space(s) serviced | Smart/pulse/interval meter (Y/N)? | Data available from utility |
| Utility meter #1 | Lobby, elevators | Y | N |

| Private meters |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Meter | Manufacturer | Type of meter | Equipment or space(s) serviced | Operational (Y/N)? | Data collection system |
| HVAC meter #1 | Leviton | 15-min interval | Boiler | Y | EMS |

Alternative documentation
Instead of this form, you may submit the following to IREM®:

- List of meters

Optional next steps

- Match the utility bills you receive with each of the meters, if possible. Track the utility expenses for each meter, and correlate energy efficiency improvements with your expense tracking for the separate meters.

- Inquire with your utility about obtaining the interval data from any utility smart meters in service. Interval data can help identify trends, detect equipment faults, and reduce demand charges.

- Engage a qualified service provider to obtain quotes on energy management services that include:

  - Extracting energy data from your utility meter(s)

  - Installing additional energy monitoring equipment such as submeters on equipment or spaces

  - Collecting and/or analyzing energy data from the meters

  - Recommending operational and equipment improvements to improve the energy efficiency of the property. You may be surprised at the paybacks possible for these services and the scope of the improvements you are able to make.