W.2	Check for water leaks

Hundreds of gallons of water can be lost through leaks. Large leaks can lead to water damage, mold, and other issues. Regularly checking for leaks will help you reach water efficiency goals for the property.

This activity consists of two parts:

- Have a system or process in place to identify water leaks.

- Conduct a water leak inspection.

Part 1: System or process for identifying water leaks

You must have one of the following systems in place for identifying water leaks at the property.

  - Preventive maintenance program that includes regular checks for water leaks so that all units are inspected at least on an annual basis

  - Maintenance service request or work order system so that residents can report water leaks for correction

Part 2: Water leak inspection

Use the checklist below to conduct a water leak inspection at the property.

Important note: IREM® requires you to inspect, at minimum, the following:

  - Areas under management control

  - Model units

  - Vacant units

- Check the box next to which system is in place for identifying and correcting water leaks at the property.

| Preventive maintenance program that includes regular checks for water leaks.so that all units are inspected at least on an annual basis. |  |
| --- | --- |
| Maintenance service request or work order system so that residents can report water leaks for correction. |  |

- Use the checklist to conduct a water leak inspection at the property.

| Water leak inspection checklist |  |  |  |
| --- | --- | --- | --- |
| Inspection conducted by |  |  |  |
| Date(s) |  |  |  |
| Date(s) of last inspection: |  |  |  |
| Water system |  |  |  |
| Item | OK | Not OK | Notes or action required |
| Check the water meter(s) and lines running into them |  |  |  |
| Check water leak detector dial on the water meter(s) - Turn off all water systems and items. - Watch the water meter for a minute or more. - If the leak detection dial is moving continuously, the property may have a leak. - Continue the inspection or engage the utility or a service provider if you think the leak is large. |  |  |  |
| Check the property’s “wet wall(s)”—the walls that carry the main water lines |  |  |  |
| Check water supply lines |  |  |  |
| Check water return lines |  |  |  |
| Check for failing, freezing, or worn pipes - Connections, fittings, and valves need close inspection. |  |  |  |
| Check water heater(s) for leaks |  |  |  |
| Bathrooms |  |  |  |
| Bathroom #1 Item | OK | Not OK | Notes or action required |
| Check toilet |  |  |  |
| Check faucet |  |  |  |
| Check showerhead |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Bathroom #2 Item | OK | Not OK | Notes or action required |
| Check toilet |  |  |  |
| Check faucet |  |  |  |
| Check showerhead |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Bathroom #3 Item | OK | Not OK | Notes or action required |
| Check toilet |  |  |  |
| Check faucet |  |  |  |
| Check showerhead |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Bathroom #4 Item | OK | Not OK | Notes or action required |
| Check toilet |  |  |  |
| Check faucet |  |  |  |
| Check showerhead |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Bathroom #5 Item | OK | Not OK | Notes or action required |
| Check toilets |  |  |  |
| Check faucets |  |  |  |
| Check showerhead |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Bathroom #6 Item | OK | Not OK | Notes or action required |
| Check toilet |  |  |  |
| Check faucet |  |  |  |
| Check showerhead |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Kitchens |  |  |  |
| Kitchen #1 Item | OK | Not OK | Notes or action required |
| Check faucet |  |  |  |
| Check dishwasher |  |  |  |
| Check refrigerator |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Kitchen #2 Item | OK | Not OK | Notes or action required |
| Check faucet |  |  |  |
| Check dishwasher |  |  |  |
| Check refrigerator |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Kitchen #3 Item | OK | Not OK | Notes or action required |
| Check faucet |  |  |  |
| Check dishwasher |  |  |  |
| Check refrigerator |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Kitchen #4 Item | OK | Not OK | Notes or action required |
| Check faucet |  |  |  |
| Check dishwasher |  |  |  |
| Check refrigerator |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Kitchen #5 Item | OK | Not OK | Notes or action required |
| Check faucet |  |  |  |
| Check dishwasher |  |  |  |
| Check refrigerator |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Kitchen #6 Item | OK | Not OK | Notes or action required |
| Check faucet |  |  |  |
| Check dishwasher |  |  |  |
| Check refrigerator |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Landscaping/irrigation |  |  |  |
| Item | OK | Not OK | Notes or action required |
| Check irrigation lines |  |  |  |
| Check irrigation spigots |  |  |  |
| Ensure spigots are properly positioned and not spraying onto pavement |  |  |  |
| Check for signs of underground leaks—pooled water, swampy ground, moldy areas, or sunken earth |  |  |  |
| HVAC system |  |  |  |
| Item | OK | Not OK | Notes or action required |
| Check equipment room(s) for pooled water and unusual condensate |  |  |  |
| Check seams, gaskets, and seals on all HVAC units |  |  |  |
| Check condensate pans for overflow |  |  |  |
| Check for clogged condensate drain |  |  |  |
| Check evaporator coils |  |  |  |
| Check circulating pumps for leaks around seals and packing |  |  |  |
| Check all pressure relief valves |  |  |  |
| Check all automatic air vents |  |  |  |
| Check back flow preventer for proper function |  |  |  |
| Check cooling tower makeup and bleed water lines |  |  |  |
| Check for mineral build-up and blockages in cooling tower fill and basin |  |  |  |
| Swimming pool |  |  |  |
| Item | OK | Not OK | Notes or action Required |
| Check main pool pump(s) |  |  |  |
| Check lines and filters for leaks and clogs |  |  |  |
| Check water level—too much water can splash and spray out |  |  |  |
| Check temperature if heated— too high of a setting leads to excessive evaporation |  |  |  |

Alternative documentation
Instead of this form, you may submit at least one of the following to IREM:

- Paragraph summarizing inspection and findings

- Copy of any checklist used

Optional next steps

- Consider installing water leak detection equipment

- Explore other water efficiency practices at the EPA’s website

- Use the resources available at the Environmental Defense Fund (EDF) website to evaluate the property’s cooling tower water use, if applicable