W.5	Install high-efficiency fixtures in common areas and commit to installing high-efficiency fixtures during rehabs and unit turnovers

After operational improvements to increase water efficiency, a property can reduce water use with high-efficiency fixtures. Faucets, toilets, urinals, and showerheads are all available as high-efficiency models under the following water use standards.

  - Note: To earn points for this activity, you must retrofit (or already have retrofitted) at least 75% of the fixtures in areas under management control by any of the standards in the table.

  - If you have installed ENERGY STAR® washing machines and dishwashers in areas under management control, you may include those to qualify, as those models are water-efficient.

  - You must also commit to installing fixtures that meet any of the standards on the table in units during turnovers.

| Standard | Toilets (gpf) | Urinals (gpf) | Public lavatory faucets (gpm) | Private lavatory faucets (gpm) | Kitchen faucets (gpm) | Showerheads |
| --- | --- | --- | --- | --- | --- | --- |
| High-efficiency | 1.28 | 0.125 | 0.5 | 1.5 | 2.2 | 1.5 |
| EPA WaterSense | 1.28 | 0.5 | 0.5 | 1.5 | N/A | 2.0 |
| UPC/IPC | 1.6 | 1.0 | 0.5 | 2.2 | 2.2 | 2.5 |

- Complete the table below.

| Fixture type | Total number in areas under management control | Total high efficiency models |
| --- | --- | --- |
| Toilets |  |  |
| Urinals |  |  |
| Public lavatory faucets |  |  |
| Private lavatory faucets |  |  |
| Kitchen faucets |  |  |
| Showerheads |  |  |
| Dishwashers |  |  |
| Washing machines |  |  |
| Grand totals |  |  |

- Fill in the blanks in the following statement.

% of total water fixtures in areas under management control have been retrofitted to water-efficient models.

| At least 75% of the fixtures in areas under management control have been retrofitted with high-efficiency models, so I am eligible to receive points. |  |
| --- | --- |
| I commit to installing high-efficiency water fixtures in units during turnovers. |  |

Alternative documentation
Instead of this form, you may submit the following to IREM®:

- Invoice for fixtures in areas under management control, and

- Sample invoice for high-efficiency fixtures installed in unit or memo committing to install high-efficiency fixtures at unit turnovers