B.11	Conduct an IAQ walk-through

Regular IAQ inspections will help you identify issues that negatively impact IAQ. Use the checklist to conduct a walk-through. Make corrections and recommend actions to tenants/residents, where appropriate.

| IAQ Inspection checklist |  |  |
| --- | --- | --- |
| Inspection conducted by: |  |  |
| Date: |  |  |
| S = Satisfactory U = Unsatisfactory, requires attention |  |  |
| Areas under management control Air quality ___ No odors ___ Generally comfortable Walls, ceiling, floors, surface areas ___ Flat surfaces free of dust ___ Walls, windows, ceilings clean and free of contaminants ___ Restroom surface areas clean ___ Mats and carpets clean ___ Furniture/partitions clean Thermal comfort ___ Temperature feels comfortable ___ Occupants appear comfortable (no space heaters or other signs of discomfort) ___ Thermostats functional/set appropriately Lighting ___ Lighting adequate ___ No glares Acoustics ___ No areas of noise interference or loud noise |  | HVAC system Mechanical room ___ No storage of chemicals or equipment ___ No unusual odors ___ Equipment and floor clean ___ Proper drainage ___ Clean pans ___ No water pooling or excess moisture ___ No mineral deposits or microbial growth ___ No excessive noise or unusual sounds ___ No excessive vibrations ___ All controls functional Air plenums and ducts ___ Mounting secure ___ No gaps or openings ___ Clean and free of debris ___ No microbial growth ___ No visible leaks ___ No unusual odors ___ Fireproofing secure and clean ___ Fire dampers open and accessible |

| S = Satisfactory U = Unsatisfactory, requires attention |  |
| --- | --- |
| Areas under management control Moisture control ___ No standing water ___ No water damage ___ No mold or fungus growth Pollutant sources ___ Copiers at least 10 feet from occupants ___ CO exhaust does not enter property from parking garage ___ CO exhaust does not enter property from loading dock(s) ___ CO exhaust does not enter property from entrances ___ No tobacco smoke or odors Trash disposal ___ Hallways, areas under management control, and/or breezeways free of debris ___ Tenants/resident complying with trash disposal rules ___ Dumpster room clean and orderly and properly ventilated | HVAC system Diffusers, Louvers, Grilles ___ Mounting secure ___ Unobstructed ___ Clean/free of debris ___ No water condensation Fans ___ All hardware secure and functional ___ Unobstructed ___ Clean/free of debris ___ No water condensation ___ No corrosion ___ Belts and blades operational ___ Controls operations |

Alternative documentation
Instead of this form, you may submit at least one of the following to IREM®:

- Paragraph summarizing your walk-through and findings

- Copy of any checklist used for your walk-through