W.2	Check for water leaks

Hundreds of gallons of water can be lost through leaks. Large leaks can lead to water damage, mold, and other issues. Regularly checking for leaks will help you reach water efficiency goals for the property. Use the checklist to inspect for water leaks. Use several versions of this form if necessary. You must inspect the entire property, including tenant suites.

| Water leak inspection checklist |  |  |  |  |
| --- | --- | --- | --- | --- |
| Inspection conducted by |  |  |  |  |
| Date(s) |  |  |  |  |
| Date(s) of last inspection: |  |  |  |  |
| Water system |  |  |  |  |
| Item | OK | Not OK | Notes or action required |
| Check the water meter(s) and lines running into them |  |  |  |
| Check water leak detector dial on the water meter(s) - Turn off all water systems and items. - Watch the water meter for a minute or more. - If the leak detection dial is moving continuously, the property may have a leak. - Continue the inspection or engage the utility or a service provider if you think the leak is large. |  |  |  |
| Check the property’s “wet wall(s)”—the walls that carry the main water lines |  |  |  |
| Check water supply lines |  |  |  |
| Check water return lines |  |  |  |
| Check for failing, freezing, or worn pipes - Connections, fittings, and valves need close inspection. |  |  |  |
| Check water heater(s) for leaks |  |  |  |
| Restrooms |  |  |  |  |
| Restroom #1 Item | OK | Not OK | Notes or action required |
| Check toilet |  |  |  |
| Check faucet |  |  |  |
| Check urinals |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Restroom #2 Item | OK | Not OK | Notes or action required |
| Check toilet |  |  |  |
| Check faucet |  |  |  |
| Check urinals |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Restroom #3 Item | OK | Not OK | Notes or action required |
| Check toilet |  |  |  |
| Check faucet |  |  |  |
| Check urinals |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Restroom #4 Item | OK | Not OK | Notes or action required |
| Check toilet |  |  |  |
| Check faucet |  |  |  |
| Check urinals |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Restroom #5 Item | OK | Not OK | Notes or action required |
| Check toilets |  |  |  |
| Check faucets |  |  |  |
| Check urinals |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Restroom #6 Item | OK | Not OK | Notes or action required |
| Check toilet |  |  |  |
| Check faucet |  |  |  |
| Check urinals |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Kitchens |  |  |  |  |
| Kitchen #1 Item | OK | Not OK | Notes or action required |
| Check faucet |  |  |  |
| Check dishwasher |  |  |  |
| Check icemaker |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Kitchen #2 Item | OK | Not OK | Notes or action required |
| Check faucet |  |  |  |
| Check dishwasher |  |  |  |
| Check icemaker |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Kitchen #3 Item | OK | Not OK | Notes or action required |
| Check faucet |  |  |  |
| Check dishwasher |  |  |  |
| Check icemaker |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Kitchen #4 Item | OK | Not OK | Notes or action required |
| Check faucet |  |  |  |
| Check dishwasher |  |  |  |
| Check icemaker |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Kitchen #5 Item | OK | Not OK | Notes or action required |
| Check faucet |  |  |  |
| Check dishwasher |  |  |  |
| Check icemaker |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Kitchen #6 Item | OK | Not OK | Notes or action required |
| Check faucet |  |  |  |
| Check dishwasher |  |  |  |
| Check icemaker |  |  |  |
| Check ceilings, walls, and floors for water damage |  |  |  |
| Landscaping/irrigation |  |  |  |  |
| Item | OK | Not OK | Notes or action required |
| Check irrigation lines |  |  |  |
| Check irrigation spigots |  |  |  |
| Ensure spigots are properly positioned and not spraying onto pavement |  |  |  |
| Check for signs of underground leaks—pooled water, swampy ground, moldy areas, or sunken earth |  |  |  |
| HVAC system |  |  |  |  |
| Item | OK | Not OK | Notes or action required |
| Check equipment room(s) for pooled water and unusual condensate |  |  |  |
| Check seams, gaskets, and seals on all HVAC units |  |  |  |
| Check condensate pans for overflow |  |  |  |
| Check for clogged condensate drain |  |  |  |
| Check evaporator coils |  |  |  |
| Check circulating pumps for leaks around seals and packing |  |  |  |
| Check all pressure relief valves |  |  |  |
| Check all automatic air vents |  |  |  |
| Check back flow preventer for proper function |  |  |  |
| Check cooling tower makeup and bleed water lines |  |  |  |
| Check for mineral build-up and blockages in cooling tower fill and basin |  |  |  |

Alternative documentation
Instead of this form, you may submit at least one of the following to IREM®:

- Paragraph summarizing inspection and findings

- Copy of any checklist used